## Slide 1: INPUT panel

## Slide 2
Type:
Unit No :
Model :
Rated Motor :
Outlet Size :
Discharge Constant :
Rated Frequency :
Liquid Temperature :
Test Voltage :
Date :
Observed Frequency :
Correction Head :
Watt Meter Constant :
Duty :
Phases :
Rated Speed :
No. of Stages :
Surface Finish of pump shaft:
Head :
Discharge :
Efficiency :
Power :
Current :
DECLARED VALUES
INPUT DATA
kW
mm
Hz
oC
V
Hz
m
rpm
micron
m
lps
%
kW
A
Core Length
Winding design
Stamping
Casing details
Impeller detail
DESIGN DETAILS
PRINT DESIGN DATA
YES | NO

## Slide 3
S.No. | HEAD (m) | Time for cm Rise (s) | A (amps) | W1 | W2 | Frequency (Hz) | Speed (RPM) | %slip
1. |  |  |  |  |  |  |  | 
2 |  |  |  |  |  |  |  | 
3 |  |  |  |  |  |  |  | 
4 |  |  |  |  |  |  |  | 
5 |  |  |  |  |  |  |  | 
6 |  |  |  |  |  |  |  | 
7 |  |  |  |  |  |  |  | 
8 |  |  |  |  |  |  |  | 
9 |  |  |  |  |  |  |  | 
10 |  |  |  |  |  |  |  | 
Generate Table
HOME

## Slide 4: TABLE PANEL

## Slide 5
Unit | I/P
Model | I/P
No. Of Stages | I/P
Outlet Size | I/P
Rated Speed | I/P
Rated Motor KW | I/P
No. of Phases | I/P
Rated Frequency | I/P
Frequency during test | I/P
Date Of Test | I/P
Head Range | CAL
Liquid Temperature | I/P
Correction Head | I/P
Discharge Constant | I/P
I/P - Take from Input
CAL- Calculated Value
TEST REPORT ON SUBMERSIBLE PUMPSET
Casing Withstood a pressure of ‘CAL’ m of water
Verified by
Tested by
Surface finish of pump shaft = I/P micron
Declared Values :
I/P
I/P
I/P
I/P
I/P
m
lps
%
KW
amp
mm
m
oC
m
rpm
KW
Hz
Hz
GENERATE GRAPH

## Slide 6: GRAPH

## Slide 7
Discharge (lps)
HEAD (m)
Current (Amp)
Efficiency %
PERFORMANCE CURVE FOR SUBMERSIBLE PUMP SET
PRINT
Head
Current
Efficiency
PUMP STD:- I/P | Type: I/P | Duty Point | Q(lps) | T.Head(m) | O.A.Eff.(%) | “I” max in Head range
Rated Speed : I/P | Sl.No: I/P | Declared | I/P | I/P | I/P | I/P
Head Range : CAL | Outlet Size: I/P | Actual | CAL (from graph) | CAL (from graph) | CAL (from graph) | CAL (from graph)
Date: I/P | Frequency:I/P | Results | PASS/FAIL | PASS/FAIL | PASS/FAIL | PASS/FAIL
Hg, Qg
Hd, Qd
Head range
Hd
Qd
Head plot
Hg,max
Hg,min

## Slide 8: formulae

## Slide 10
If Actual value is greater than Declared value, then pump is passed.

## Slide 11: Declared values
Head , HG | I/P
Discharge ,QG | I/P
Efficiency | I/P
Power | I/P
Current | I/P
lps
m
%
KW
A
Declared value
Straight line connecting declared value and origin.
Discharge
Head
Design point
Hd , Qd
Origin

## Slide 12
+
=0.04; =0.07.

## Slide 13: Instructions for graph
Approximate the curves to a second degree polynomial only.
Use dynamic scales in graph to get good shape.
Differentiate between head, current, efficiency points by using different type of markers.